## Introduction
Airtightness Calculation Tool
This spreadsheet is a supplementarly resource for CCI's Technical Bulletin 38 Airtightness Measurement of Display Cases and Other Enclosures (2022). It is provided for those who are familiar with Excel, especially the use of graphing functions. The file reproduces data and figures used in TB38. Users may enter data into the spreadsheet, and the results will automatically update. The figures and some Excel functions may require adjustments to span the size of entered data.

## Multi-point decay
Multi-point concentration decay method
ln = natural logarithm
Cin = internal concentration of CO2 at the test onset (ppm)
Cex avg = average external (room) concentration of CO2 (ppm)
[5 empty] | Cex average: | 613.058 |  |  | Instructions
|  |  | Internal |  |  | External |  |  | Data in columns C, D and E as well as the cell H7 are used to generate Graphs A and B.
|  |  | Monitor |  |  | Monitor |  |  | You can enter your own data to see corresponding decay in Graphs A and B.
Date | Timestamp | Duration (day) | Cin (ppm) | ln(Cin - Cex avg) | Timestamp | Cex (ppm) |  |  | Green cells represent calculated values; it is not recommended to change them.
2021/02/08 08:45:00 | 1612791900 | 0 | 655 | 3.7363 | 1612791900 | 521 |  |  | Yellow cells represent calculated values; however, you may replace them with your own data.
2021/02/08 09:15:00 | 1612793700 | 0.020833 | 667 | 3.9879 | 1612793700 | 565
2021/02/08 09:45:00 | 1612795500 | 0.041667 | 676 | 4.1422 | 1612795500 | 579 |  |  | Cex average, in cell H7, is an Excel function to determine the average external (room) concentration of CO2 in the specific range (line H14 to H358).
2021/02/08 10:15:00 | 1612797300 | 0.0625 | 681 | 4.2187 | 1612797300 | 603 |  |  | Data from H11 to H13 was excluded from the average concentration calculation since these cells do not represent the correct ambient CO2 concentration.
2021/02/08 10:45:00 | 1612799100 | 0.083333 | 2295 | 7.4277 | 1612799100 | 623 |  |  | You can enter your measured CO2 background level directly in cell H7.
2021/02/08 11:15:00 | 1612800900 | 0.10417 | 4137 | 8.1673 | 1612800900 | 634 |  |  | If you had a monitor outside the enclosure recording CO2 during the experiment, those values could be placed in column H and the formula at cell H7 should cover the range of your data.
2021/02/08 11:45:00 | 1612802700 | 0.125 | 4222 | 8.1912 | 1612802700 | 637
2021/02/08 12:15:00 | 1612804500 | 0.14583 | 4218 | 8.1901 | 1612804500 | 655 |  |  | Graphs A and B are based on data from line 11 to 358. Your data size may be shorter or longer. The figures should cover the range of your data.
2021/02/08 12:45:00 | 1612806300 | 0.16667 | 4213 | 8.1887 | 1612806300 | 641 |  |  | To create Grahs A and B, the duration in days must be found in column C, the CO2 concentration must be found in column D and the average external (room) concentration of CO2 must be inserted in cell H7.
2021/02/08 13:15:00 | 1612808100 | 0.1875 | 4181 | 8.1797 | 1612808100 | 637
2021/02/08 13:45:00 | 1612809900 | 0.20833 | 4161 | 8.1741 | 1612809900 | 679 |  |  | In Graph B, the user must determine the linear regression range.
2021/02/08 14:15:00 | 1612811700 | 0.22917 | 4150 | 8.171 | 1612811700 | 713 |  |  | From this experiment, the linear regression range is from lines 19 to 203, and the airtightness is shown in the equation inserted in the graph.
2021/02/08 14:45:00 | 1612813500 | 0.25 | 4146 | 8.1699 | 1612813500 | 723 |  |  | The calculated airtightness is 0.323/day (positive value of the linear regression slope).
2021/02/08 15:15:00 | 1612815300 | 0.27083 | 4117 | 8.1616 | 1612815300 | 726
2021/02/08 15:45:00 | 1612817100 | 0.29167 | 4115 | 8.1611 | 1612817100 | 739 |  |  | Airtightness as an Excel Slope function in cell R52
2021/02/08 16:15:00 | 1612818900 | 0.3125 | 4090 | 8.1539 | 1612818900 | 740 | Graph A. CO2 decay in an enclosure. |  | Cell R52 represents another method to determine the airtightness. It is an Excel slope function by using columns E and C.
2021/02/08 16:45:00 | 1612820700 | 0.33333 | 4073 | 8.149 | 1612820700 | 717 | (This graph appears as Figure 14 in TB38.) |  | The function must cover the linear range of your data. In the example here, it covers the range from lines 19 to 203.
2021/02/08 17:15:00 | 1612822500 | 0.35417 | 4047 | 8.1415 | 1612822500 | 710
2021/02/08 17:45:00 | 1612824300 | 0.375 | 4053 | 8.1432 | 1612824300 | 751
2021/02/08 18:15:00 | 1612826100 | 0.39583 | 4015 | 8.1321 | 1612826100 | 762
2021/02/08 18:45:00 | 1612827900 | 0.41667 | 3976 | 8.1206 | 1612827900 | 768
2021/02/08 19:15:00 | 1612829700 | 0.4375 | 3934 | 8.108 | 1612829700 | 709
2021/02/08 19:45:00 | 1612831500 | 0.45833 | 3940 | 8.1098 | 1612831500 | 653
2021/02/08 20:15:00 | 1612833300 | 0.47917 | 3914 | 8.102 | 1612833300 | 658
2021/02/08 20:45:00 | 1612835100 | 0.5 | 3887 | 8.0938 | 1612835100 | 657
2021/02/08 21:15:00 | 1612836900 | 0.52083 | 3883 | 8.0925 | 1612836900 | 667
2021/02/08 21:45:00 | 1612838700 | 0.54167 | 3863 | 8.0864 | 1612838700 | 676
2021/02/08 22:15:00 | 1612840500 | 0.5625 | 3837 | 8.0784 | 1612840500 | 667
2021/02/08 22:45:00 | 1612842300 | 0.58333 | 3817 | 8.0721 | 1612842300 | 656
2021/02/08 23:15:00 | 1612844100 | 0.60417 | 3793 | 8.0646 | 1612844100 | 666
2021/02/08 23:45:00 | 1612845900 | 0.625 | 3770 | 8.0574 | 1612845900 | 665
2021/02/09 00:15:00 | 1612847700 | 0.64583 | 3766 | 8.0561 | 1612847700 | 675
2021/02/09 00:45:00 | 1612849500 | 0.66667 | 3725 | 8.043 | 1612849500 | 706
2021/02/09 01:15:00 | 1612851300 | 0.6875 | 3713 | 8.0391 | 1612851300 | 711
2021/02/09 01:45:00 | 1612853100 | 0.70833 | 3674 | 8.0265 | 1612853100 | 701
2021/02/09 02:15:00 | 1612854900 | 0.72917 | 3639 | 8.015 | 1612854900 | 692
2021/02/09 02:45:00 | 1612856700 | 0.75 | 3628 | 8.0113 | 1612856700 | 690
2021/02/09 03:15:00 | 1612858500 | 0.77083 | 3599 | 8.0017 | 1612858500 | 671 | Graph B. CO2 decay in an enclosure expressed as the natural logarithm of CO2 concentration minus the external value in the room as a function of time.
2021/02/09 03:45:00 | 1612860300 | 0.79167 | 3576 | 7.9939 | 1612860300 | 666 | (This graph appears as Figure 15 in TB38.)
2021/02/09 04:15:00 | 1612862100 | 0.8125 | 3560 | 7.9885 | 1612862100 | 640
2021/02/09 04:45:00 | 1612863900 | 0.83333 | 3512 | 7.9721 | 1612863900 | 614
2021/02/09 05:15:00 | 1612865700 | 0.85417 | 3504 | 7.9693 | 1612865700 | 581 | Airtightness by using the Slope function with data from columns F and D (1/day): | 0.3225
2021/02/09 05:45:00 | 1612867500 | 0.875 | 3476 | 7.9596 | 1612867500 | 549
2021/02/09 06:15:00 | 1612869300 | 0.89583 | 3444 | 7.9484 | 1612869300 | 536
2021/02/09 06:45:00 | 1612871100 | 0.91667 | 3411 | 7.9366 | 1612871100 | 521
2021/02/09 07:15:00 | 1612872900 | 0.9375 | 3402 | 7.9334 | 1612872900 | 516
2021/02/09 07:45:00 | 1612874700 | 0.95833 | 3384 | 7.9269 | 1612874700 | 510
2021/02/09 08:15:00 | 1612876500 | 0.97917 | 3371 | 7.9222 | 1612876500 | 506
2021/02/09 08:45:00 | 1612878300 | 1 | 3349 | 7.9142 | 1612878300 | 527
2021/02/09 09:15:00 | 1612880100 | 1.0208 | 3331 | 7.9076 | 1612880100 | 538
2021/02/09 09:45:00 | 1612881900 | 1.0417 | 3336 | 7.9095 | 1612881900 | 567
2021/02/09 10:15:00 | 1612883700 | 1.0625 | 3311 | 7.9002 | 1612883700 | 605
2021/02/09 10:45:00 | 1612885500 | 1.0833 | 3332 | 7.908 | 1612885500 | 629
2021/02/09 11:15:00 | 1612887300 | 1.1042 | 3288 | 7.8917 | 1612887300 | 645
2021/02/09 11:45:00 | 1612889100 | 1.125 | 3271 | 7.8853 | 1612889100 | 649
2021/02/09 12:15:00 | 1612890900 | 1.1458 | 3261 | 7.8815 | 1612890900 | 655
2021/02/09 12:45:00 | 1612892700 | 1.1667 | 3228 | 7.869 | 1612892700 | 630
2021/02/09 13:15:00 | 1612894500 | 1.1875 | 3230 | 7.8698 | 1612894500 | 596
2021/02/09 13:45:00 | 1612896300 | 1.2083 | 3221 | 7.8663 | 1612896300 | 595
2021/02/09 14:15:00 | 1612898100 | 1.2292 | 3189 | 7.854 | 1612898100 | 614
2021/02/09 14:45:00 | 1612899900 | 1.25 | 3187 | 7.8532 | 1612899900 | 631
2021/02/09 15:15:00 | 1612901700 | 1.2708 | 3162 | 7.8434 | 1612901700 | 677
2021/02/09 15:45:00 | 1612903500 | 1.2917 | 3148 | 7.8379 | 1612903500 | 701
2021/02/09 16:15:00 | 1612905300 | 1.3125 | 3127 | 7.8296 | 1612905300 | 676
2021/02/09 16:45:00 | 1612907100 | 1.3333 | 3093 | 7.816 | 1612907100 | 645
2021/02/09 17:15:00 | 1612908900 | 1.3542 | 3086 | 7.8132 | 1612908900 | 658
2021/02/09 17:45:00 | 1612910700 | 1.375 | 3069 | 7.8063 | 1612910700 | 662
2021/02/09 18:15:00 | 1612912500 | 1.3958 | 3063 | 7.8038 | 1612912500 | 653
2021/02/09 18:45:00 | 1612914300 | 1.4167 | 3036 | 7.7927 | 1612914300 | 671
2021/02/09 19:15:00 | 1612916100 | 1.4375 | 3023 | 7.7874 | 1612916100 | 662
2021/02/09 19:45:00 | 1612917900 | 1.4583 | 3007 | 7.7807 | 1612917900 | 665
2021/02/09 20:15:00 | 1612919700 | 1.4792 | 3007 | 7.7807 | 1612919700 | 664
2021/02/09 20:45:00 | 1612921500 | 1.5 | 2990 | 7.7736 | 1612921500 | 678
2021/02/09 21:15:00 | 1612923300 | 1.5208 | 2984 | 7.771 | 1612923300 | 708
2021/02/09 21:45:00 | 1612925100 | 1.5417 | 2971 | 7.7655 | 1612925100 | 711
2021/02/09 22:15:00 | 1612926900 | 1.5625 | 2960 | 7.7609 | 1612926900 | 723
2021/02/09 22:45:00 | 1612928700 | 1.5833 | 2956 | 7.7592 | 1612928700 | 721
2021/02/09 23:15:00 | 1612930500 | 1.6042 | 2931 | 7.7484 | 1612930500 | 731
2021/02/09 23:45:00 | 1612932300 | 1.625 | 2911 | 7.7398 | 1612932300 | 721
2021/02/10 00:15:00 | 1612934100 | 1.6458 | 2898 | 7.7341 | 1612934100 | 772
2021/02/10 00:45:00 | 1612935900 | 1.6667 | 2883 | 7.7275 | 1612935900 | 758
2021/02/10 01:15:00 | 1612937700 | 1.6875 | 2864 | 7.7191 | 1612937700 | 734
2021/02/10 01:45:00 | 1612939500 | 1.7083 | 2858 | 7.7164 | 1612939500 | 738
2021/02/10 02:15:00 | 1612941300 | 1.7292 | 2840 | 7.7084 | 1612941300 | 739
2021/02/10 02:45:00 | 1612943100 | 1.75 | 2809 | 7.6944 | 1612943100 | 745
2021/02/10 03:15:00 | 1612944900 | 1.7708 | 2789 | 7.6852 | 1612944900 | 726
2021/02/10 03:45:00 | 1612946700 | 1.7917 | 2761 | 7.6723 | 1612946700 | 709
2021/02/10 04:15:00 | 1612948500 | 1.8125 | 2752 | 7.6681 | 1612948500 | 656
2021/02/10 04:45:00 | 1612950300 | 1.8333 | 2733 | 7.6591 | 1612950300 | 616
2021/02/10 05:15:00 | 1612952100 | 1.8542 | 2718 | 7.652 | 1612952100 | 598
2021/02/10 05:45:00 | 1612953900 | 1.875 | 2704 | 7.6454 | 1612953900 | 577
2021/02/10 06:15:00 | 1612955700 | 1.8958 | 2690 | 7.6387 | 1612955700 | 570
2021/02/10 06:45:00 | 1612957500 | 1.9167 | 2659 | 7.6236 | 1612957500 | 559
2021/02/10 07:15:00 | 1612959300 | 1.9375 | 2658 | 7.6231 | 1612959300 | 557
2021/02/10 07:45:00 | 1612961100 | 1.9583 | 2626 | 7.6074 | 1612961100 | 554
2021/02/10 08:15:00 | 1612962900 | 1.9792 | 2610 | 7.5994 | 1612962900 | 536
2021/02/10 08:45:00 | 1612964700 | 2 | 2597 | 7.5928 | 1612964700 | 552
2021/02/10 09:15:00 | 1612966500 | 2.0208 | 2612 | 7.6004 | 1612966500 | 564
2021/02/10 09:45:00 | 1612968300 | 2.0417 | 2601 | 7.5949 | 1612968300 | 574
2021/02/10 10:15:00 | 1612970100 | 2.0625 | 2587 | 7.5878 | 1612970100 | 604
2021/02/10 10:45:00 | 1612971900 | 2.0833 | 2580 | 7.5842 | 1612971900 | 618
2021/02/10 11:15:00 | 1612973700 | 2.1042 | 2568 | 7.5781 | 1612973700 | 630
2021/02/10 11:45:00 | 1612975500 | 2.125 | 2551 | 7.5694 | 1612975500 | 624
2021/02/10 12:15:00 | 1612977300 | 2.1458 | 2538 | 7.5627 | 1612977300 | 627
2021/02/10 12:45:00 | 1612979100 | 2.1667 | 2521 | 7.5538 | 1612979100 | 582
2021/02/10 13:15:00 | 1612980900 | 2.1875 | 2557 | 7.5725 | 1612980900 | 577
2021/02/10 13:45:00 | 1612982700 | 2.2083 | 2506 | 7.5459 | 1612982700 | 598
2021/02/10 14:15:00 | 1612984500 | 2.2292 | 2498 | 7.5417 | 1612984500 | 630
2021/02/10 14:45:00 | 1612986300 | 2.25 | 2509 | 7.5475 | 1612986300 | 664
2021/02/10 15:15:00 | 1612988100 | 2.2708 | 2477 | 7.5304 | 1612988100 | 683
2021/02/10 15:45:00 | 1612989900 | 2.2917 | 2484 | 7.5342 | 1612989900 | 702
2021/02/10 16:15:00 | 1612991700 | 2.3125 | 2472 | 7.5278 | 1612991700 | 705
2021/02/10 16:45:00 | 1612993500 | 2.3333 | 2451 | 7.5164 | 1612993500 | 667
2021/02/10 17:15:00 | 1612995300 | 2.3542 | 2438 | 7.5093 | 1612995300 | 631
2021/02/10 17:45:00 | 1612997100 | 2.375 | 2419 | 7.4988 | 1612997100 | 605
2021/02/10 18:15:00 | 1612998900 | 2.3958 | 2404 | 7.4905 | 1612998900 | 594
2021/02/10 18:45:00 | 1613000700 | 2.4167 | 2392 | 7.4838 | 1613000700 | 595
2021/02/10 19:15:00 | 1613002500 | 2.4375 | 2383 | 7.4787 | 1613002500 | 582
2021/02/10 19:45:00 | 1613004300 | 2.4583 | 2365 | 7.4685 | 1613004300 | 592
2021/02/10 20:15:00 | 1613006100 | 2.4792 | 2355 | 7.4628 | 1613006100 | 606
2021/02/10 20:45:00 | 1613007900 | 2.5 | 2362 | 7.4668 | 1613007900 | 626
2021/02/10 21:15:00 | 1613009700 | 2.5208 | 2325 | 7.4454 | 1613009700 | 648
2021/02/10 21:45:00 | 1613011500 | 2.5417 | 2339 | 7.4535 | 1613011500 | 662
2021/02/10 22:15:00 | 1613013300 | 2.5625 | 2331 | 7.4489 | 1613013300 | 659
2021/02/10 22:45:00 | 1613015100 | 2.5833 | 2320 | 7.4425 | 1613015100 | 659
2021/02/10 23:15:00 | 1613016900 | 2.6042 | 2313 | 7.4383 | 1613016900 | 663
2021/02/10 23:45:00 | 1613018700 | 2.625 | 2294 | 7.4271 | 1613018700 | 655
2021/02/11 00:15:00 | 1613020500 | 2.6458 | 2275 | 7.4157 | 1613020500 | 673
2021/02/11 00:45:00 | 1613022300 | 2.6667 | 2276 | 7.4163 | 1613022300 | 676
2021/02/11 01:15:00 | 1613024100 | 2.6875 | 2260 | 7.4067 | 1613024100 | 696
2021/02/11 01:45:00 | 1613025900 | 2.7083 | 2241 | 7.3951 | 1613025900 | 693
2021/02/11 02:15:00 | 1613027700 | 2.7292 | 2245 | 7.3975 | 1613027700 | 675
2021/02/11 02:45:00 | 1613029500 | 2.75 | 2224 | 7.3846 | 1613029500 | 667
2021/02/11 03:15:00 | 1613031300 | 2.7708 | 2193 | 7.3651 | 1613031300 | 658
2021/02/11 03:45:00 | 1613033100 | 2.7917 | 2177 | 7.355 | 1613033100 | 644
2021/02/11 04:15:00 | 1613034900 | 2.8125 | 2155 | 7.3408 | 1613034900 | 629
2021/02/11 04:45:00 | 1613036700 | 2.8333 | 2135 | 7.3277 | 1613036700 | 599
2021/02/11 05:15:00 | 1613038500 | 2.8542 | 2115 | 7.3145 | 1613038500 | 578
2021/02/11 05:45:00 | 1613040300 | 2.875 | 2117 | 7.3158 | 1613040300 | 558
2021/02/11 06:15:00 | 1613042100 | 2.8958 | 2094 | 7.3004 | 1613042100 | 543
2021/02/11 06:45:00 | 1613043900 | 2.9167 | 2084 | 7.2937 | 1613043900 | 523
2021/02/11 07:15:00 | 1613045700 | 2.9375 | 2079 | 7.2903 | 1613045700 | 511
2021/02/11 07:45:00 | 1613047500 | 2.9583 | 2047 | 7.2682 | 1613047500 | 508
2021/02/11 08:15:00 | 1613049300 | 2.9792 | 2044 | 7.2661 | 1613049300 | 518
2021/02/11 08:45:00 | 1613051100 | 3 | 2016 | 7.2463 | 1613051100 | 521
2021/02/11 09:15:00 | 1613052900 | 3.0208 | 2036 | 7.2605 | 1613052900 | 537
2021/02/11 09:45:00 | 1613054700 | 3.0417 | 2038 | 7.2619 | 1613054700 | 568
2021/02/11 10:15:00 | 1613056500 | 3.0625 | 2030 | 7.2563 | 1613056500 | 570
2021/02/11 10:45:00 | 1613058300 | 3.0833 | 2038 | 7.2619 | 1613058300 | 593
2021/02/11 11:15:00 | 1613060100 | 3.1042 | 2025 | 7.2527 | 1613060100 | 615
2021/02/11 11:45:00 | 1613061900 | 3.125 | 2016 | 7.2463 | 1613061900 | 651
2021/02/11 12:15:00 | 1613063700 | 3.1458 | 2011 | 7.2428 | 1613063700 | 629
2021/02/11 12:45:00 | 1613065500 | 3.1667 | 2014 | 7.2449 | 1613065500 | 566
2021/02/11 13:15:00 | 1613067300 | 3.1875 | 2020 | 7.2492 | 1613067300 | 577
2021/02/11 13:45:00 | 1613069100 | 3.2083 | 2004 | 7.2377 | 1613069100 | 602
2021/02/11 14:15:00 | 1613070900 | 3.2292 | 2012 | 7.2435 | 1613070900 | 635
2021/02/11 14:45:00 | 1613072700 | 3.25 | 1988 | 7.2262 | 1613072700 | 652
2021/02/11 15:15:00 | 1613074500 | 3.2708 | 1978 | 7.2189 | 1613074500 | 618
2021/02/11 15:45:00 | 1613076300 | 3.2917 | 1976 | 7.2174 | 1613076300 | 652
2021/02/11 16:15:00 | 1613078100 | 3.3125 | 1969 | 7.2123 | 1613078100 | 679
2021/02/11 16:45:00 | 1613079900 | 3.3333 | 1954 | 7.2011 | 1613079900 | 632
2021/02/11 17:15:00 | 1613081700 | 3.3542 | 1937 | 7.1884 | 1613081700 | 590
2021/02/11 17:45:00 | 1613083500 | 3.375 | 1925 | 7.1793 | 1613083500 | 590
2021/02/11 18:15:00 | 1613085300 | 3.3958 | 1900 | 7.16 | 1613085300 | 602
2021/02/11 18:45:00 | 1613087100 | 3.4167 | 1903 | 7.1624 | 1613087100 | 613
2021/02/11 19:15:00 | 1613088900 | 3.4375 | 1918 | 7.1739 | 1613088900 | 610
2021/02/11 19:45:00 | 1613090700 | 3.4583 | 1894 | 7.1554 | 1613090700 | 607
2021/02/11 20:15:00 | 1613092500 | 3.4792 | 1883 | 7.1467 | 1613092500 | 623
2021/02/11 20:45:00 | 1613094300 | 3.5 | 1885 | 7.1483 | 1613094300 | 632
2021/02/11 21:15:00 | 1613096100 | 3.5208 | 1869 | 7.1356 | 1613096100 | 632
2021/02/11 21:45:00 | 1613097900 | 3.5417 | 1872 | 7.138 | 1613097900 | 621
2021/02/11 22:15:00 | 1613099700 | 3.5625 | 1853 | 7.1228 | 1613099700 | 629
2021/02/11 22:45:00 | 1613101500 | 3.5833 | 1863 | 7.1309 | 1613101500 | 628
2021/02/11 23:15:00 | 1613103300 | 3.6042 | 1854 | 7.1236 | 1613103300 | 639
2021/02/11 23:45:00 | 1613105100 | 3.625 | 1839 | 7.1115 | 1613105100 | 625
2021/02/12 00:15:00 | 1613106900 | 3.6458 | 1836 | 7.109 | 1613106900 | 611
2021/02/12 00:45:00 | 1613108700 | 3.6667 | 1817 | 7.0934 | 1613108700 | 610
2021/02/12 01:15:00 | 1613110500 | 3.6875 | 1810 | 7.0875 | 1613110500 | 637
2021/02/12 01:45:00 | 1613112300 | 3.7083 | 1819 | 7.095 | 1613112300 | 660
2021/02/12 02:15:00 | 1613114100 | 3.7292 | 1774 | 7.057 | 1613114100 | 639
2021/02/12 02:45:00 | 1613115900 | 3.75 | 1753 | 7.0387 | 1613115900 | 629
2021/02/12 03:15:00 | 1613117700 | 3.7708 | 1754 | 7.0396 | 1613117700 | 608
2021/02/12 03:45:00 | 1613119500 | 3.7917 | 1726 | 7.0148 | 1613119500 | 607
2021/02/12 04:15:00 | 1613121300 | 3.8125 | 1703 | 6.9939 | 1613121300 | 580
2021/02/12 04:45:00 | 1613123100 | 3.8333 | 1679 | 6.9716 | 1613123100 | 544
2021/02/12 05:15:00 | 1613124900 | 3.8542 | 1686 | 6.9782 | 1613124900 | 518
2021/02/12 05:45:00 | 1613126700 | 3.875 | 1664 | 6.9574 | 1613126700 | 504
2021/02/12 06:15:00 | 1613128500 | 3.8958 | 1658 | 6.9517 | 1613128500 | 499
2021/02/12 06:45:00 | 1613130300 | 3.9167 | 1641 | 6.9353 | 1613130300 | 488
2021/02/12 07:15:00 | 1613132100 | 3.9375 | 1637 | 6.9314 | 1613132100 | 481
2021/02/12 07:45:00 | 1613133900 | 3.9583 | 1634 | 6.9285 | 1613133900 | 486
2021/02/12 08:15:00 | 1613135700 | 3.9792 | 1598 | 6.8926 | 1613135700 | 481
2021/02/12 08:45:00 | 1613137500 | 4 | 1591 | 6.8855 | 1613137500 | 480
2021/02/12 09:15:00 | 1613139300 | 4.0208 | 1596 | 6.8906 | 1613139300 | 499
2021/02/12 09:45:00 | 1613141100 | 4.0417 | 1598 | 6.8926 | 1613141100 | 521
2021/02/12 10:15:00 | 1613142900 | 4.0625 | 1594 | 6.8885 | 1613142900 | 547
2021/02/12 10:45:00 | 1613144700 | 4.0833 | 1599 | 6.8936 | 1613144700 | 572
2021/02/12 11:15:00 | 1613146500 | 4.1042 | 1593 | 6.8875 | 1613146500 | 571
2021/02/12 11:45:00 | 1613148300 | 4.125 | 1592 | 6.8865 | 1613148300 | 579
2021/02/12 12:15:00 | 1613150100 | 4.1458 | 1585 | 6.8793 | 1613150100 | 590
2021/02/12 12:45:00 | 1613151900 | 4.1667 | 1594 | 6.8885 | 1613151900 | 586
2021/02/12 13:15:00 | 1613153700 | 4.1875 | 1579 | 6.8731 | 1613153700 | 596
2021/02/12 13:45:00 | 1613155500 | 4.2083 | 1589 | 6.8834 | 1613155500 | 596
2021/02/12 14:15:00 | 1613157300 | 4.2292 | 1575 | 6.869 | 1613157300 | 612
2021/02/12 14:45:00 | 1613159100 | 4.25 | 1550 | 6.8426 | 1613159100 | 618
2021/02/12 15:15:00 | 1613160900 | 4.2708 | 1544 | 6.8362 | 1613160900 | 592
2021/02/12 15:45:00 | 1613162700 | 4.2917 | 1538 | 6.8297 | 1613162700 | 552
2021/02/12 16:15:00 | 1613164500 | 4.3125 | 1538 | 6.8297 | 1613164500 | 543
2021/02/12 16:45:00 | 1613166300 | 4.3333 | 1527 | 6.8178 | 1613166300 | 561
2021/02/12 17:15:00 | 1613168100 | 4.3542 | 1517 | 6.8068 | 1613168100 | 579
2021/02/12 17:45:00 | 1613169900 | 4.375 | 1516 | 6.8057 | 1613169900 | 579
2021/02/12 18:15:00 | 1613171700 | 4.3958 | 1517 | 6.8068 | 1613171700 | 588
2021/02/12 18:45:00 | 1613173500 | 4.4167 | 1494 | 6.781 | 1613173500 | 622
2021/02/12 19:15:00 | 1613175300 | 4.4375 | 1496 | 6.7833 | 1613175300 | 640
2021/02/12 19:45:00 | 1613177100 | 4.4583 | 1486 | 6.7719 | 1613177100 | 616
2021/02/12 20:15:00 | 1613178900 | 4.4792 | 1494 | 6.781 | 1613178900 | 611
2021/02/12 20:45:00 | 1613180700 | 4.5 | 1483 | 6.7684 | 1613180700 | 636
2021/02/12 21:15:00 | 1613182500 | 4.5208 | 1474 | 6.758 | 1613182500 | 630
2021/02/12 21:45:00 | 1613184300 | 4.5417 | 1465 | 6.7475 | 1613184300 | 697
2021/02/12 22:15:00 | 1613186100 | 4.5625 | 1462 | 6.744 | 1613186100 | 671
2021/02/12 22:45:00 | 1613187900 | 4.5833 | 1458 | 6.7393 | 1613187900 | 655
2021/02/12 23:15:00 | 1613189700 | 4.6042 | 1455 | 6.7357 | 1613189700 | 647
2021/02/12 23:45:00 | 1613191500 | 4.625 | 1439 | 6.7165 | 1613191500 | 657
2021/02/13 00:15:00 | 1613193300 | 4.6458 | 1427 | 6.7019 | 1613193300 | 651
2021/02/13 00:45:00 | 1613195100 | 4.6667 | 1413 | 6.6845 | 1613195100 | 639
2021/02/13 01:15:00 | 1613196900 | 4.6875 | 1399 | 6.6669 | 1613196900 | 630
2021/02/13 01:45:00 | 1613198700 | 4.7083 | 1386 | 6.6502 | 1613198700 | 663
2021/02/13 02:15:00 | 1613200500 | 4.7292 | 1373 | 6.6332 | 1613200500 | 626
2021/02/13 02:45:00 | 1613202300 | 4.75 | 1349 | 6.6012 | 1613202300 | 613
2021/02/13 03:15:00 | 1613204100 | 4.7708 | 1332 | 6.5778 | 1613204100 | 577
2021/02/13 03:45:00 | 1613205900 | 4.7917 | 1323 | 6.5652 | 1613205900 | 554
2021/02/13 04:15:00 | 1613207700 | 4.8125 | 1316 | 6.5553 | 1613207700 | 530
2021/02/13 04:45:00 | 1613209500 | 4.8333 | 1298 | 6.5293 | 1613209500 | 529
2021/02/13 05:15:00 | 1613211300 | 4.8542 | 1297 | 6.5279 | 1613211300 | 514
2021/02/13 05:45:00 | 1613213100 | 4.875 | 1281 | 6.5042 | 1613213100 | 493
2021/02/13 06:15:00 | 1613214900 | 4.8958 | 1278 | 6.4997 | 1613214900 | 488
2021/02/13 06:45:00 | 1613216700 | 4.9167 | 1277 | 6.4982 | 1613216700 | 493
2021/02/13 07:15:00 | 1613218500 | 4.9375 | 1265 | 6.48 | 1613218500 | 482
2021/02/13 07:45:00 | 1613220300 | 4.9583 | 1244 | 6.4472 | 1613220300 | 480
2021/02/13 08:15:00 | 1613222100 | 4.9792 | 1261 | 6.4738 | 1613222100 | 468
2021/02/13 08:45:00 | 1613223900 | 5 | 1242 | 6.444 | 1613223900 | 471
2021/02/13 09:15:00 | 1613225700 | 5.0208 | 1244 | 6.4472 | 1613225700 | 482
2021/02/13 09:45:00 | 1613227500 | 5.0417 | 1254 | 6.4629 | 1613227500 | 515
2021/02/13 10:15:00 | 1613229300 | 5.0625 | 1248 | 6.4535 | 1613229300 | 547
2021/02/13 10:45:00 | 1613231100 | 5.0833 | 1251 | 6.4582 | 1613231100 | 565
2021/02/13 11:15:00 | 1613232900 | 5.1042 | 1246 | 6.4504 | 1613232900 | 531
2021/02/13 11:45:00 | 1613234700 | 5.125 | 1251 | 6.4582 | 1613234700 | 503
2021/02/13 12:15:00 | 1613236500 | 5.1458 | 1246 | 6.4504 | 1613236500 | 501
2021/02/13 12:45:00 | 1613238300 | 5.1667 | 1235 | 6.4328 | 1613238300 | 507
2021/02/13 13:15:00 | 1613240100 | 5.1875 | 1235 | 6.4328 | 1613240100 | 539
2021/02/13 13:45:00 | 1613241900 | 5.2083 | 1232 | 6.428 | 1613241900 | 548
2021/02/13 14:15:00 | 1613243700 | 5.2292 | 1225 | 6.4166 | 1613243700 | 569
2021/02/13 14:45:00 | 1613245500 | 5.25 | 1228 | 6.4215 | 1613245500 | 584
2021/02/13 15:15:00 | 1613247300 | 5.2708 | 1219 | 6.4068 | 1613247300 | 599
2021/02/13 15:45:00 | 1613249100 | 5.2917 | 1215 | 6.4002 | 1613249100 | 590
2021/02/13 16:15:00 | 1613250900 | 5.3125 | 1209 | 6.3901 | 1613250900 | 609
2021/02/13 16:45:00 | 1613252700 | 5.3333 | 1203 | 6.38 | 1613252700 | 627
2021/02/13 17:15:00 | 1613254500 | 5.3542 | 1205 | 6.3834 | 1613254500 | 631
2021/02/13 17:45:00 | 1613256300 | 5.375 | 1186 | 6.3508 | 1613256300 | 627
2021/02/13 18:15:00 | 1613258100 | 5.3958 | 1178 | 6.3367 | 1613258100 | 634
2021/02/13 18:45:00 | 1613259900 | 5.4167 | 1193 | 6.3629 | 1613259900 | 642
2021/02/13 19:15:00 | 1613261700 | 5.4375 | 1180 | 6.3403 | 1613261700 | 645
2021/02/13 19:45:00 | 1613263500 | 5.4583 | 1179 | 6.3385 | 1613263500 | 654
2021/02/13 20:15:00 | 1613265300 | 5.4792 | 1162 | 6.308 | 1613265300 | 649
2021/02/13 20:45:00 | 1613267100 | 5.5 | 1149 | 6.284 | 1613267100 | 649
2021/02/13 21:15:00 | 1613268900 | 5.5208 | 1163 | 6.3098 | 1613268900 | 655
2021/02/13 21:45:00 | 1613270700 | 5.5417 | 1146 | 6.2784 | 1613270700 | 655
2021/02/13 22:15:00 | 1613272500 | 5.5625 | 1162 | 6.308 | 1613272500 | 647
2021/02/13 22:45:00 | 1613274300 | 5.5833 | 1141 | 6.269 | 1613274300 | 646
2021/02/13 23:15:00 | 1613276100 | 5.6042 | 1150 | 6.2859 | 1613276100 | 640
2021/02/13 23:45:00 | 1613277900 | 5.625 | 1132 | 6.2518 | 1613277900 | 685
2021/02/14 00:15:00 | 1613279700 | 5.6458 | 1116 | 6.2205 | 1613279700 | 708
2021/02/14 00:45:00 | 1613281500 | 5.6667 | 1122 | 6.2323 | 1613281500 | 692
2021/02/14 01:15:00 | 1613283300 | 5.6875 | 1109 | 6.2065 | 1613283300 | 689
2021/02/14 01:45:00 | 1613285100 | 5.7083 | 1094 | 6.1757 | 1613285100 | 666
2021/02/14 02:15:00 | 1613286900 | 5.7292 | 1099 | 6.1861 | 1613286900 | 651
2021/02/14 02:45:00 | 1613288700 | 5.75 | 1074 | 6.1333 | 1613288700 | 640
2021/02/14 03:15:00 | 1613290500 | 5.7708 | 1075 | 6.1354 | 1613290500 | 609
2021/02/14 03:45:00 | 1613292300 | 5.7917 | 1051 | 6.0821 | 1613292300 | 574
2021/02/14 04:15:00 | 1613294100 | 5.8125 | 1050 | 6.0798 | 1613294100 | 545
2021/02/14 04:45:00 | 1613295900 | 5.8333 | 1049 | 6.0775 | 1613295900 | 527
2021/02/14 05:15:00 | 1613297700 | 5.8542 | 1047 | 6.0729 | 1613297700 | 519
2021/02/14 05:45:00 | 1613299500 | 5.875 | 1042 | 6.0613 | 1613299500 | 512
2021/02/14 06:15:00 | 1613301300 | 5.8958 | 1033 | 6.0401 | 1613301300 | 504
2021/02/14 06:45:00 | 1613303100 | 5.9167 | 1030 | 6.0329 | 1613303100 | 507
2021/02/14 07:15:00 | 1613304900 | 5.9375 | 1021 | 6.0111 | 1613304900 | 506
2021/02/14 07:45:00 | 1613306700 | 5.9583 | 1018 | 6.0037 | 1613306700 | 523
2021/02/14 08:15:00 | 1613308500 | 5.9792 | 989 | 5.9294 | 1613308500 | 530
2021/02/14 08:45:00 | 1613310300 | 6 | 1006 | 5.9737 | 1613310300 | 567
2021/02/14 09:15:00 | 1613312100 | 6.0208 | 1011 | 5.9863 | 1613312100 | 624
2021/02/14 09:45:00 | 1613313900 | 6.0417 | 1020 | 6.0087 | 1613313900 | 607
2021/02/14 10:15:00 | 1613315700 | 6.0625 | 1012 | 5.9888 | 1613315700 | 570
2021/02/14 10:45:00 | 1613317500 | 6.0833 | 1023 | 6.016 | 1613317500 | 555
2021/02/14 11:15:00 | 1613319300 | 6.1042 | 1002 | 5.9634 | 1613319300 | 542
2021/02/14 11:45:00 | 1613321100 | 6.125 | 1006 | 5.9737 | 1613321100 | 513
2021/02/14 12:15:00 | 1613322900 | 6.1458 | 996 | 5.9479 | 1613322900 | 498
2021/02/14 12:45:00 | 1613324700 | 6.1667 | 982 | 5.9106 | 1613324700 | 479
2021/02/14 13:15:00 | 1613326500 | 6.1875 | 980 | 5.9052 | 1613326500 | 444
2021/02/14 13:45:00 | 1613328300 | 6.2083 | 968 | 5.872 | 1613328300 | 437
2021/02/14 14:15:00 | 1613330100 | 6.2292 | 949 | 5.8169 | 1613330100 | 421
2021/02/14 14:45:00 | 1613331900 | 6.25 | 972 | 5.8832 | 1613331900 | 402
2021/02/14 15:15:00 | 1613333700 | 6.2708 | 955 | 5.8346 | 1613333700 | 398
2021/02/14 15:45:00 | 1613335500 | 6.2917 | 951 | 5.8229 | 1613335500 | 376
2021/02/14 16:15:00 | 1613337300 | 6.3125 | 943 | 5.7989 | 1613337300 | 370
2021/02/14 16:45:00 | 1613339100 | 6.3333 | 946 | 5.808 | 1613339100 | 435
2021/02/14 17:15:00 | 1613340900 | 6.3542 | 945 | 5.805 | 1613340900 | 499
2021/02/14 17:45:00 | 1613342700 | 6.375 | 956 | 5.8376 | 1613342700 | 562
2021/02/14 18:15:00 | 1613344500 | 6.3958 | 939 | 5.7867 | 1613344500 | 569
2021/02/14 18:45:00 | 1613346300 | 6.4167 | 945 | 5.805 | 1613346300 | 599
2021/02/14 19:15:00 | 1613348100 | 6.4375 | 948 | 5.814 | 1613348100 | 613
2021/02/14 19:45:00 | 1613349900 | 6.4583 | 942 | 5.7959 | 1613349900 | 640
2021/02/14 20:15:00 | 1613351700 | 6.4792 | 948 | 5.814 | 1613351700 | 646
2021/02/14 20:45:00 | 1613353500 | 6.5 | 948 | 5.814 | 1613353500 | 665
2021/02/14 21:15:00 | 1613355300 | 6.5208 | 950 | 5.8199 | 1613355300 | 687
2021/02/14 21:45:00 | 1613357100 | 6.5417 | 948 | 5.814 | 1613357100 | 683
2021/02/14 22:15:00 | 1613358900 | 6.5625 | 956 | 5.8376 | 1613358900 | 685
2021/02/14 22:45:00 | 1613360700 | 6.5833 | 935 | 5.7744 | 1613360700 | 694
2021/02/14 23:15:00 | 1613362500 | 6.6042 | 930 | 5.7587 | 1613362500 | 700
2021/02/14 23:45:00 | 1613364300 | 6.625 | 937 | 5.7806 | 1613364300 | 706
2021/02/15 00:15:00 | 1613366100 | 6.6458 | 936 | 5.7775 | 1613366100 | 772
2021/02/15 00:45:00 | 1613367900 | 6.6667 | 935 | 5.7744 | 1613367900 | 795
2021/02/15 01:15:00 | 1613369700 | 6.6875 | 930 | 5.7587 | 1613369700 | 801
2021/02/15 01:45:00 | 1613371500 | 6.7083 | 918 | 5.7201 | 1613371500 | 781
2021/02/15 02:15:00 | 1613373300 | 6.7292 | 913 | 5.7036 | 1613373300 | 762
2021/02/15 02:45:00 | 1613375100 | 6.75 | 903 | 5.6697 | 1613375100 | 733
2021/02/15 03:15:00 | 1613376900 | 6.7708 | 904 | 5.6731 | 1613376900 | 716
2021/02/15 03:45:00 | 1613378700 | 6.7917 | 892 | 5.631 | 1613378700 | 689
2021/02/15 04:15:00 | 1613380500 | 6.8125 | 889 | 5.6202 | 1613380500 | 673
2021/02/15 04:45:00 | 1613382300 | 6.8333 | 887 | 5.6129 | 1613382300 | 657
2021/02/15 05:15:00 | 1613384100 | 6.8542 | 873 | 5.5605 | 1613384100 | 594
2021/02/15 05:45:00 | 1613385900 | 6.875 | 863 | 5.5212 | 1613385900 | 577
2021/02/15 06:15:00 | 1613387700 | 6.8958 | 850 | 5.4678 | 1613387700 | 563
2021/02/15 06:45:00 | 1613389500 | 6.9167 | 855 | 5.4887 | 1613389500 | 557
2021/02/15 07:15:00 | 1613391300 | 6.9375 | 857 | 5.4969 | 1613391300 | 552
2021/02/15 07:45:00 | 1613393100 | 6.9583 | 854 | 5.4846 | 1613393100 | 548
2021/02/15 08:15:00 | 1613394900 | 6.9792 | 844 | 5.4422 | 1613394900 | 543
2021/02/15 08:45:00 | 1613396700 | 7 | 841 | 5.4291 | 1613396700 | 554
2021/02/15 09:15:00 | 1613398500 | 7.0208 | 830 | 5.3796 | 1613398500 | 557
2021/02/15 09:45:00 | 1613400300 | 7.0417 | 838 | 5.4158 | 1613400300 | 609
2021/02/15 10:15:00 | 1613402100 | 7.0625 | 847 | 5.4551 | 1613402100 | 637
2021/02/15 10:45:00 | 1613403900 | 7.0833 | 841 | 5.4291 | 1613403900 | 640
2021/02/15 11:15:00 | 1613405700 | 7.1042 | 846 | 5.4508 | 1613405700 | 652
2021/02/15 11:45:00 | 1613407500 | 7.125 | 843 | 5.4378 | 1613407500 | 681
2021/02/15 12:15:00 | 1613409300 | 7.1458 | 835 | 5.4024 | 1613409300 | 648
2021/02/15 12:45:00 | 1613411100 | 7.1667 | 845 | 5.4465 | 1613411100 | 633
2021/02/15 13:15:00 | 1613412900 | 7.1875 | 854 | 5.4846 | 1613412900 | 664
2021/02/15 13:45:00 | 1613414700 | 7.2083 | 836 | 5.4069 | 1613414700 | 689
2021/02/15 14:15:00 | 1613416500 | 7.2292 | 842 | 5.4335 | 1613416500 | 705

## Two-point decay
Two-point decay method
Equation 4: | [6 empty] | Instructions
Data in cells A16 to E20 in Table 1 are the same as those used in TB38.
You can enter your own data to see the corresponding airtightness (N) in column G.
Where | [6 empty] | Green cells represent calculated values; it is not recommended to change them.
N = airtightness (1/day)
ln = natural logarithm
Cin1 = internal concentration of CO2 at the test onset (ppm)
Cin2 = internal concentration of CO2 at the test end (ppm)
Cex = external (room) concentration of CO2 (ppm)
Dt = t2 - t1 = duration between measurements of Cin (day)
Table 1. Two-point sets for the determination of airtightness (based on Equation 4)
Cex (ppm) | Cin (ppm) at t1 | t1 (hour) | Cin (ppm) at t2 | t2 (hour) | Duration (day) | N (1/day)
613 | 4218 | 3.5 | 4015 | 9.5 | 0.25 | 0.23183
613 | 4213 | 4 | 3976 | 10 | 0.25 | 0.2724
613 | 4213 | 4 | 3512 | 20 | 0.66667 | 0.32485
613 | 4213 | 4 | 1591 | 96 | 3.8333 | 0.33996
613 | 4213 | 4 | 1215 | 127 | 5.125 | 0.34896

## Test duration
Test duration
Equation 5: | [6 empty] | Instructions
Data in cells A17 to C17 in Table 2 are the same as those used in the three scenarios in TB38 (Table 2 is not included in TB38).
You can put your own data in cells A17 to C17 and see the calculated end limit and the corresponding duration in cells D17 to G17.
Where | [6 empty] | Green cells represent calculated values, and it is recommended to not change these.
t = duration of the test for a specific target concentration (day)
Cin1 = start concentration after stabilization (ppm)
Cex = concentration of the background (ppm)
Cin2 = targeted concentration (ppm) such as 20% decay, half decay or end level (Cex + 600 ppm)
ln = natural logarithm
N = airtightness (1/day)
Table 2. Time to reach a specific decay (based on Equation 5)
Time (days) to reach:
Cin (ppm) | Cex (ppm) | N (1/day) | End limit (ppm) | - 20% | Half-decay | End limit
5000 | 500 | 0.3 | 1100 | 0.83771 | 3.1482 | 6.7163