## EN IVD C3 + C4
Chapter Number | Chapter Title | Level | Scope | C3 N - Classification | C3 N - Condition | C3 A - Classification | C3 A - Condition | C3 SDL/AI - Classification | C3 SDL/AI - Condition | C4 N - Classification | C4 N - Condition | C4 A - Classification | C4 A - Condition | C4 SDL/AI - Classification | C4 SDL/AI - Condition
1 | REGIONAL ADMINISTRATIVE | 0 |  | R |  | R |  | R |  | R |  | R |  | R
1.01 | Cover Letter | 1 | IMDRF, RF | R |  | R |  | R |  | R |  | R |  | R
1.02 | Submission Table of Contents | 1 | IMDRF | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.03 | List of Terms/Acronyms | 1 | IMDRF | R |  | R |  | CR | When new terms are added | R |  | R |  | CR | When new terms are added.
1.04 | Application Form/Administrative Information | 1 | IMDRF, RF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
1.05 | Listing of Device(s) | 1 | IMDRF, RF (ANVISA, EU, TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.06 | Quality Management System, Full Quality System or other Regulatory Certificates | 1 | Regional (ANVISA, EU, HC, TGA) | R |  | NR |  | NR |  | R |  | NR |  | NR
1.07 | Free Sale Certificate/ Certificate of Marketing authorization | 1 | Regional (ANVISA, CFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.08 | User Fees | 1 | Regional (ANVISA, EU, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.09 | Pre-Submission Correspondence and Previous Regulator Interactions | 1 | IMDRF, RF | CR | When relevant to the application. | CR | When relevant to the amendment. | R | A copy of the original Additional Information Letter should be provided here. | CR | When relevant to the application. | CR | When relevant to the amendment. | R | A copy of the original Additional Information Letter should be provided here.
1.10 | Acceptance for Review Checklist | 1 | Regional (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.11 | Statements/Certifications/Declarations of Conformity | 1 | Regional (ANVISA, HC, EU, TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.11.01 | Performance and Voluntary Standard | 2 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.11.02 | Environmental Assessment | 2 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.11.03 | Clinical Trial Certifications | 2 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.11.04 | Indications for Use Statement with Rx and/or OTC designation Enclosure | 2 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.11.05 | Truthful and Accurate Statement | 2 | Regional (ANVISA, CFDA, HC, TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.11.06 | Declaration of Conformity | 2 | (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.12 | Letters of Reference for Master Files | 1 | IMDRF | CR | When a Master File is referenced | CR | When a Master File is referenced | CR | When a Master File is referenced | CR | When a Master File is referenced | CR | When a Master File is referenced | CR | When a Master File is referenced
1.13 | Letter of Authorization | 1 | Regional (ANVISA, CFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.14 | Other Regional Administrative Information | 1 | IMDRF | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter
2 | SUBMISSION CONTEXT | 0 |  | R |  | R |  | R |  | R |  | R |  | R
2.01 | Chapter Table of Contents | 1 | IMDRF | NR |  | NR |  | NR |  | NR |  | NR |  | NR
2.02 | General Summary of Submission | 1 | IMDRF, RF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
2.03 | Summary and Certifications for Premarket Submissions | 1 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
2.04 | Device Description | 1 | IMDRF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
2.04.01 | Comprehensive Device Description and Principle of Operation | 2 | IMDRF, RF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
2.04.02 | Material Specifications | 2 | IMDRF (HC, JP) | O |  | O |  | O |  | R |  | CR | When relevant to the amendment. | CR | When relevant to the amendment.
2.04.03 | Description of Device Packaging | 2 | IMDRF (ANVISA, EU, HC, TGA, USFDA) | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
2.04.04 | History of Development | 2 | IMDRF (ANVISA, EU, HC, TGA, USFDA) | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
2.04.05 | Reference and Comparison to Similar and/or Previous Generations of the Device | 2 | IMDRF, RF | R |  | CR | If applicable to the amendment. | CR | If applicable to the amendment. | R |  | CR | If applicable to the amendment. | CR | If applicable to the amendment.
2.04.06 | Substantial Equivalence Discussion | 2 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
2.05 | Indications for Use and/or Intended Use | 1 | IMDRF | R |  | R |  | CR | If any sub-headings are required. | R |  | R |  | CR | If any sub-headings are required.
2.05.01 | Intended Use; Intended Purpose; Intended User; Indications for Use | 2 | IMDRF, RF | R |  | R |  | CR | If applicable | R |  | R |  | CR | If applicable
2.05.02 | Intended Environment/Setting for use | 2 | IMDRF, RF (ANVISA, EU, HC, TGA, USFDA) | R |  | R |  | CR | If applicable | R |  | R |  | CR | If applicable
2.05.03 | Pediatric Use | 2 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
2.05.04 | Contraindications for Use | 2 | IMDRF, RF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
2.06 | Global Market History | 1 | IMDRF | R |  | R |  | CR | If any sub-headings are required. | R |  | R |  | CR | If any sub-headings are required.
2.06.01 | Global Market History | 2 | IMDRF | R |  | R |  | CR | If applicable | R |  | R |  | CR | If applicable
2.06.02 | Global Incident Reports and Recalls | 2 | IMDRF, RF | R |  | R |  | CR | If applicable | R |  | R |  | CR | If applicable
2.06.03 | Sales, Incident and Recall Rates | 2 | IMDRF, RF (EU, HC, JP, TGA) | R |  | R |  | CR | If applicable | R |  | R |  | CR | If applicable
2.06.04 | Evaluation/Inspection Reports | 2 | Regional (TGA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
2.07 | Other Submission Context Information | 1 | IMDRF | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter
3 | NON-CLINICAL EVIDENCE | 0 |  | R |  | R |  | R |  | R |  | R |  | R
3.01 | Chapter Table of Contents | 1 | IMDRF | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.02 | Risk Management | 1 | IMDRF | NR |  | NR |  | NR |  | R |  | R |  | CR | If relevant to the submission
3.03 | Essential Principles (EP) Checklist | 1 | IMDRF (ANVISA, EU, JP, TGA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.04 | Standards | 1 | IMDRF | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required.
3.04.01 | List of Standards | 2 | IMDRF, RF (ANVISA, EU, HC, TGA, USFDA) | CR | If demonstrating that device complies with standards | CR | Required if there are standards that have been applied in relation to the amendment. | CR | If relevant to the submission | CR | If demonstrating that device complies with standards | CR | Required if there are standards that have been applied in relation to the amendment. | CR | If relevant to the submission
3.04.02 | Declaration and/or Certification of Conformity | 2 | Regional ( ANVISA, HC, USFDA) | CR | If demonstrating that device complies with standards | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | If demonstrating that device complies with standards | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.05 | Analytical Performance | 1 | IMDRF | R |  | CR | If any sub-headings are required. | CR | If any sub-headings are required. | R |  | CR | If any sub-headings are required. | CR | If any sub-headings are required.
3.05.01 | Stability of Sample(s) | 2 | IMDRF | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.05.01.01 | [Study description, study identifier, date of initiation, date of completion] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.05.01.01.01 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.05.01.01.02 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.05.01.01.03 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.02 | Validation of Specimens | 2 | IMDRF | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.05.02.01 | [Study description, study identifier, date of initiation, date of completion] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.05.02.01.01 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.05.02.01.02 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.05.02.01.03 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.03 | Metrological traceability of calibrator and control material values | 2 | IMDRF | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.05.03.01 | [Study description, study identifier, date of initiation, date of completion] | 3 | IMDRF (ANVISA, EU, HC, TGA, USFDA) | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.05.03.01.01 | Summary | 4 | IMDRF (ANVISA, EU, HC, TGA, USFDA) | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.05.03.01.02 | Full Report | 4 | IMDRF (ANVISA, EU, HC, TGA, USFDA) | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.05.03.01.03 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.04 | Accuracy of Measurement | 2 | IMDRF | R |  | CR | If any sub-headings are required. | CR | If any sub-headings are required. | R |  | CR | If any sub-headings are required. | CR | If any sub-headings are required.
3.05.04.01 | Trueness | 3 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.05.04.01.01 | [Study description, study identifier, date of initiation, date of completion] | 4 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.05.04.01.01.01 | Summary | 5 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.05.04.01.01.02 | Full Report | 5 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.05.03.01.03 | Statistical Data | 5 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.04.02 | Precision (Repeatability and Reproducibility) | 3 | IMDRF | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.05.04.02.01 | [Study description, study identifier, date of initiation, date of completion] | 4 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.05.04.02.01.01 | Summary | 5 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.05.04.02.01.02 | Full Report | 5 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.05.04.02.01.03 | Statistical Data | 5 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.05 | Analytical Sensitivity | 2 | IMDRF | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.05.05.01 | [Study description, study identifier, date of initiation, date of completion] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.05.05.01.01 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.05.05.01.02 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.05.05.01.03 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.06 | Analytic Specificity | 2 | IMDRF | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.05.06.01 | [Study description, study identifier, date of initiation, date of completion] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.05.06.01.01 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.05.06.01.02 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.05.06.01.03 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.07 | High Dose Hook Effect | 2 | IMDRF | CR | When any testing/study is conducted in support of the submission under the parent heading subject, this is required for each study/test. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | When any testing/study is conducted in support of the submission under the parent heading subject, this is required for each study/test. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.05.07.01 | [Study description, study identifier, date of initiation, date of completion] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.05.07.01.01 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.05.07.01.02 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.05.07.01.03 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.08 | Measuring Range of the Assay | 2 | IMDRF | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.05.08.01 | [Study description, study identifier, date of initiation, date of completion] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.05.08.01.01 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.05.08.01.02 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.05.08.01.03 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.09 | Validation of Assay Cut-off | 2 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.05.09.01 | [Study description, study identifier, date of initiation, date of completion] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.05.09.01.01 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.05.09.01.02 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.05.09.01.03 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.10 | Validation of the Assay Procedure | 2 | IMDRF | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.05.10.01 | [Study description, study identifier, date of initiation, date of completion] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.05.10.01.01 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.05.10.01.02 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.05.10.01.03 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.06 | Other Studies | 1 | IMDRF | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter. | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter. | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter. | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter. | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter. | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter.
3.06.01 | Electrical Systems: Safety, Mechanical and Environmental Protection, and Electromagnetic Compatibility | 2 | IMDRF (ANVISA, EU, HC, TGA, USFDA) | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.06.01.01 | [Study description, study identifier, date of initiation, date of completion] | 3 | IMDRF (ANVISA, EU, HC, TGA, USFDA) | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.06.01.01.01 | Summary | 4 | IMDRF (ANVISA, EU, HC, TGA, USFDA) | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.06.01.01.02 | Full Report | 4 | IMDRF (ANVISA, EU, HC, TGA, USFDA) | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.06.01.01.03 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.06.02 | Software/Firmware | 2 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. | CR | If applicable to the submission. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. | CR | If applicable to the submission.
3.06.02.01 | Software/Firmware Description | 3 | IMDRF | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission
3.06.02.02 | Hazard Analysis | 3 | IMDRF | O |  | O |  | O |  | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission
3.06.02.03 | Software Requirement Specification | 3 | IMDRF | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission
3.06.02.04 | Architecture Design Chart | 3 | IMDRF | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission
3.06.02.05 | Software Design Specification | 3 | IMDRF | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission
3.06.02.06 | Traceability Analysis | 3 | IMDRF | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission
3.06.02.07 | Software Development Environment Description | 3 | IMDRF | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission
3.06.02.08 | Software Verification and Validation | 3 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the amendment. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the amendment. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.06.02.08.01 | [Study description, study identifier, date of initiation] | 4 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.06.02.08.01.01 | Summary | 5 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.06.02.08.01.02 | Full Report | 5 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.06.02.08.01.03 | Statistical Data | 5 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.06.02.09 | Revision Level History | 3 | IMDRF | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission
3.06.02.010 | Unresolved Anomalies (Bugs or Defects) | 3 | IMDRF | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission | CR | When software is part of the device. | CR | When relevant to the amendment. | CR | If relevant to the submission
3.06.02.011 | Cybersecurity | 3 | IMDRF (HC, USFDA) | CR | When the results of a risk assessment suggest that there are safety and effectiveness concerns relating to cybersecurity of the device, this is required. | CR | When relevant to the amendment. | CR | If relevant to the submission | CR | When the results of a risk assessment suggest that there are safety and effectiveness concerns relating to cybersecurity of the device, this is required. | CR | When relevant to the amendment. | CR | If relevant to the submission
3.06.02.012 | Interoperability | 3 | IMDRF (HC, USFDA) | CR | When the results of a risk assessment suggest that there are safety and effectiveness concerns relating to the interoperability of the device, this is required. | CR | When relevant to the amendment. | CR | If relevant to the submission | CR | When the results of a risk assessment suggest that there are safety and effectiveness concerns relating to the interoperability of the device, this is required. | CR | When relevant to the amendment. | CR | If relevant to the submission
3.06.03 | Cleaning and Disinfection Validation | 2 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.06.03.01 | [Study description, study identifier, date of initiation, date of completion] | 3 | IMDRF (ANVISA, EU, HC, TGA, USFDA) | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.06.03.01.01 | Summary | 4 | IMDRF (ANVISA, EU, HC, TGA, USFDA) | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.06.03.01.02 | Full Report | 4 | IMDRF (ANVISA, EU, HC, TGA, USFDA) | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.06.03.01.03 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.06.04 | Usability/Human Factors | 2 | IMDRF | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | If any sub-headings are required. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.06.04.01 | [Study description, study identifier, date of initiation, date of completion] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.06.04.01.01 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.06.04.01.02 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.06.04.01.03 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.06.05 | Stability of the IVD | 2 | IMDRF | R |  | CR | If any sub-headings are required. | CR | If any sub-headings are required. | R |  | CR | If any sub-headings are required. | CR | If any sub-headings are required.
3.06.05.01 | Claimed Shelf-life | 3 | IMDRF | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.06.05.01.01 | [Study description, study identifier, date of initiation, date of completion] | 4 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.06.05.01.01.01 | Summary | 5 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.06.05.01.01.02 | Full Report | 5 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.06.05.01.01.03 | Statistical Data | 5 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.06.05.02 | In Use Stability | 3 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.06.05.02.01 | [Study description, study identifier, date of initiation, date of completion] | 4 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.06.05.02.01.01 | Summary | 5 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.06.05.02.01.02 | Full Report | 5 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.06.05.02.01.03 | Statistical Data | 5 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.06.05.03 | Shipping Stability | 3 | IMDRF | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.06.05.03.01 | [Study description, study identifier, date of initiation, date of completion] | 4 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.06.05.03.01.01 | Summary | 5 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.06.05.03.01.02 | Full Report | 5 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.06.05.03.01.03 | Statistical Data | 5 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.07 | Analytical Performance and Other Evidence Bibliography | 1 | IMDRF, RF (HC, USFDA) | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
3.08 | Other Evidence | 1 | IMDRF | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter
3.08.01 | [Study description, study identifier, date of initiation, date of completion] | 2 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
3.08.01.01 | Summary | 3 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | O |  | O |  | O
3.08.01.02 | Full Report | 3 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3.08.01.03 | Statistical Data | 3 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
4 | CLINICAL EVIDENCE | 0 |  | R |  | R |  | R |  | R |  | R |  | R
4.01 | Chapter Table of Contents | 1 | IMDRF | NR |  | NR |  | NR |  | NR |  | NR |  | NR
4.02 | Overall Clinical Evidence Summary | 1 | IMDRF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
4.02.01 | Expected Values/Reference Ranges | 2 | IMDRF | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | R |  | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
4.02.02 | Clinical Evidence Evaluation Report | 2 | IMDRF (EU, JP, TGA) | O |  | O |  | O |  | O |  | O |  | O
4.02.03 | Device Specific Clinical Studies | 2 | IMDRF | R |  | CR | If any sub-headings are required. | CR | If any sub-headings are required. | R |  | CR | If any sub-headings are required. | CR | If any sub-headings are required.
4.02.03.01 | [Study description, protocol #, date of initiation, date of completion] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | This is REQUIRED for each study/test presented in this section. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
4.02.03.01.01 | Clinical Study Synopsis | 4 | IMDRF | CR | A comprehensive synopsis is REQUIRED for each study/test presented in this section. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | A comprehensive synopsis is REQUIRED for each study/test presented in this section. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
4.02.03.01.02 | Clinical Study Report | 4 | IMDRF | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
4.02.03.01.03 | Clinical Study Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
4.02.04 | Clinical Literature Review and Other Reasonable Known Information | 2 | IMDRF (HC, JP, TGA, USFDA) | CR | When applicable to submission. | CR | When applicable to submission. | CR | When applicable to submission. | CR | When applicable to submission. | CR | When applicable to submission. | CR | When applicable to submission.
4.03 | IRB Approved Informed Consent Forms | 1 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
4.04 | Investigators Sites and IRB contact information | 1 | Regional (USFDA) | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
4.05 | Other Clinical Evidence | 1 | IMDRF | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required.
4.05.01 | [Study description, study identifier, date of initiation, date of completion] | 2 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
4.05.01.01 | Summary | 3 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
4.05.01.02 | Full Report | 3 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | Not required if clearly not applicable to the amendment. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required. | CR | Not required if clearly not applicable to the submission. If any rationale/testing/studies is conducted in support of the submission under the heading subject, this heading is required.
4.05.01.03 | Statistical Data | 3 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
5 | LABELLING AND PROMOTIONAL MATERIAL | 0 |  | R |  | R |  | R |  | R |  | R |  | R
5.01 | Chapter Table of Contents | 1 | IMDRF | NR |  | NR |  | NR |  | NR |  | NR |  | NR
5.02 | Product/Package Labels | 1 | IMDRF, RF (ANVISA, EU, HC, TGA, USFDA) | R |  | CR | If applicable to the amendment. | CR | If applicable to the submission. | R |  | CR | If applicable to the amendment. | CR | If applicable to the submission.
5.03 | Package Insert/Instructions for Use | 1 | IMDRF, RF (ANVISA, EU, HC, TGA, USFDA) | R |  | CR | If applicable to the amendment. | CR | If applicable to the submission. | R |  | CR | If applicable to the amendment. | CR | If applicable to the submission.
5.04 | e-labelling | 1 | IMDRF, RF (ANVISA, EU) | O |  | O |  | O |  | O |  | O |  | O
5.05 | Patient Labelling | 1 | IMDRF (HC, USFDA) | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission
5.06 | Technical/Operator Manual | 1 | IMDRF (ANVISA, EU, HC, TGA, USFDA) | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission
5.07 | Product Brochures | 1 | Regional (HC) | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission
5.08 | Other Labelling and Promotional Material | 1 | IMDRF (ANVISA, EU, HC, TGA, USFDA) | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter. | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter. | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter. | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter. | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter. | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter.
6A | QUALITY MANAGEMENT SYSTEM PROCEDURES | 0 |  | R |  | R |  | R |  | R |  | R |  | R
6A.01 | Cover Letter | 1 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.02 | Chapter Table of Contents | 1 | IMDRF (JP, TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.03 | Administrative | 1 | IMDRF (JP, TGA, USFDA) | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
6A.03.01 | Product Descriptive Information | 2 | IMDRF (JP, TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.03.02 | General Manufacturing Information | 2 | IMDRF, RF (ANVISA, HC, JP, TGA USFDA) | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
6A.03.03 | Required Forms | 2 | IMDRF, RF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.04 | Quality management system procedures | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.05 | Management responsibilities procedures | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.06 | Resource management procedures | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.07 | Product realization procedures | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.07.01 | Design and development procedures | 2 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.07.02 | Purchasing procedures | 2 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.07.03 | Production and service controls procedures | 2 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.07.04 | Control of monitoring and measuring devices procedures | 2 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.08 | QMS measurement, analysis and improvement procedures | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.09 | Other Quality System Procedures Information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B | QUALITY MANAGEMENT SYSTEM DEVICE SPECIFIC INFORMATION | 0 |  | NR |  | NR |  | R |  | R |  | R |  | R
6B.01 | Chapter Table of Contents | 1 | IMDRF (ANVISA, CFDA, EU, HC, TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.02 | Quality management system information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.03 | Management responsibilities information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.04 | Resource management information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.05 | Device Specific Quality Plan | 1 | Regional (HC) | NR |  | NR |  | NR |  | R |  | CR | If applicable to the amendment | CR | If applicable to the submission.
6B.06 | Product realization information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.06.01 | Design and development information | 2 | Regional (ANVISA, TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.06.02 | Purchasing information | 2 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.06.03 | Production and service controls information | 1 | Regional (ANVISA, HC, TGA USFDA) | NR |  | NR |  | NR |  | R |  | CR | If applicable to the amendment | CR | If applicable to the submission.
6B.06.04 | Control of monitoring and measuring devices information | 2 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.07 | QMS measurement, analysis and improvement information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.08 | Other Device Specific Quality Management System Information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter