## EN nIVD C3 + C4
Chapter Number | Chapter Title | Level | Scope | C3 N - Classification | C3 N - Condition | C3 A - Classification | C3 A - Condition | C3 SDL/AI - Classification | C3 SDL/AI - Condition | C4 N - Classification | C4 N - Condition | C4 A - Classification | C4 A - Condition | C4 SDL/AI - Classification | C4 SDL/AI - Condition
1 | REGIONAL ADMINISTRATIVE | 0 |  | R |  | R |  | R |  | R |  | R |  | R
1.01 | Cover Letter | 1 | IMDRF, RF | R |  | R |  | R |  | R |  | R |  | R
1.02 | Submission Table of Contents | 1 | IMDRF | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.03 | List of Terms/Acronyms | 1 | IMDRF | R |  | R |  | CR | When new terms are added | R |  | R |  | CR | When new terms are added.
1.04 | Application Form/Administrative Information | 1 | Regional | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
1.05 | Listing of Device(s) | 1 | IMDRF, RF (ANVISA, EU, TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.06 | Quality Management System, Full Quality System or Other Regulatory Certificates | 1 | Regional (ANVISA, EU, HC, TGA) | R |  | NR |  | NR |  | R |  | NR |  | NR
1.07 | Free Sale Certificate/ Certificate of Marketing authorization | 1 | Regional (ANVISA, CFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.08 | User Fees | 1 | Regional (ANVISA, EU, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.09 | Pre-Submission Correspondence and Previous Regulator Interactions | 1 | IMDRF, RF | CR | When relevant to the application. | CR | When relevant to the amendment. | R | A copy of the original Additional Information Letter should be provided here. | CR | When relevant to the application. | CR | When relevant to the amendment. | R | A copy of the original Additional Information Letter should be provided here.
1.10 | Acceptance for Review Checklist | 1 | Regional (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.11 | Statements/Certifications/Declarations of Conformity | 1 | Regional (ANVISA, HC, EU, TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.11.01 | Performance and Voluntary Standard | 2 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.11.02 | Environmental Assessment | 2 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.11.03 | Clinical Trial Certifications | 2 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.11.04 | Indications for Use Statement with Rx and/or OTC designation Enclosure | 2 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.11.05 | Truthful and Accurate Statement | 2 | Regional (ANVISA, CFDA, HC, TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.11.06 | USFDA Class III Summary and Certification | 2 | Regional | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.11.07 | Declaration of Conformity | 2 | (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.12 | Letters of Reference for Master Files | 1 | IMDRF | CR | When a Master File is referenced | CR | When a Master File is referenced | CR | When a Master File is referenced | CR | When a Master File is referenced | CR | When a Master File is referenced | CR | When a Master File is referenced
1.13 | Letter of Authorization | 1 | Regional (ANVISA, CFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
1.14 | Other Regional Administrative Information | 1 | IMDRF | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter
2 | SUBMISSION CONTEXT | 0 |  | R |  | R |  | R |  | R |  | R |  | R
2.01 | Chapter Table of Contents | 1 | IMDRF | NR |  | NR |  | NR |  | NR |  | NR |  | NR
2.02 | General Summary of Submission | 1 | IMDRF, RF | R |  | R |  | CR | When the response is substantial enough to require contextual information. Information in this section may be limited to that which is relevant to the response. | R |  | R |  | CR | When the response is substantial enough to require contextual information. Information in this section may be limited to that which is relevant to the response.
2.03 | Summary and Certifications for Premarket Submissions | 1 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
2.04 | Device Description | 1 | IMDRF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
2.04.01 | Comprehensive Device Description and Principle of Operation | 2 | IMDRF, RF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
2.04.02 | Description of Device Packaging | 2 | IMDRF (ANVISA, CFDA, EU, HC, TGA, USFDA) | R |  | CR | Required if there have been changes in the packaging since the previous submission, or if the packaging is relevant to the submission (e.g. there has been a change in shelf-life or sterilization methods) | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
2.04.03 | History of Development | 2 | IMDRF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
2.04.04 | Reference and Comparison to Similar and/or Previous Generations of the Device | 2 | IMDRF, RF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
2.04.05 | Substantial Equivalence Discussion | 2 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
2.05 | Indications for Use and/or Intended Use and Contraindications | 1 | IMDRF | R |  | R |  | CR | If any sub-headings are required. | R |  | R |  | CR | If any sub-headings are required.
2.05.01 | Intended Use; Intended Purpose; Intended User; Indications for Use | 2 | IMDRF, RF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
2.05.02 | Intended Environment/Setting for use | 2 | IMDRF, RF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
2.05.03 | Pediatric Use | 2 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
2.05.04 | Contraindications for Use | 2 | IMDRF, RF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
2.06 | Global Market History | 1 | IMDRF | R |  | R |  | CR | If any sub-headings are required. | R |  | R |  | CR | If any sub-headings are required.
2.06.01 | Global Market History | 2 | IMDRF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
2.06.02 | Global Incident Reports and Recalls | 2 | IMDRF, RF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
2.06.03 | Sales, Incident and Recall Rates | 2 | IMDRF, RF (EU, HC, JP, TGA) | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
2.06.04 | Evaluation/Inspection Reports | 2 | Regional (TGA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
2.07 | Other Submission Context Information | 1 | IMDRF | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter
3 | NON-CLINICAL EVIDENCE | 0 |  | R |  | R |  | R |  | R |  | R |  | R
3.01 | Chapter Table of Contents | 1 | IMDRF | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.02 | Risk Management | 1 | IMDRF | NR |  | NR |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
3.03 | Essential Principles (EP) Checklist | 1 | IMDRF (ANVISA, EU, JP, TGA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.04 | Standards | 1 | IMDRF | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required.
3.04.01 | List of Standards | 2 | IMDRF, RF | CR | If demonstrating that device complies with standards | CR | Required if there are standards that have been applied in relation to the amendment. | CR | If relevant to the submission | CR | If demonstrating that device complies with standards | CR | Required if there are standards that have been applied in relation to the amendment. | CR | If relevant to the submission
3.04.02 | Declaration and/or Certification of Conformity | 2 | Regional ( ANVISA, HC, USFDA) | CR | If demonstrating that device complies with standards | CR | Required if declaration of conformity is being made relating to standards relevant to the amendment. | CR | If relevant to the submission | CR | If demonstrating that device complies with standards | CR | Required if declaration of conformity is being made relating to standards relevant to the amendment. | CR | If relevant to the submission
3.05 | Non-clinical Studies | 1 | IMDRF | R |  | CR | If any sub-headings are required. | CR | If any sub-headings are required. | R |  | CR | If any sub-headings are required. | CR | If any sub-headings are required.
3.05.01 | Physical and Mechanical Characterization | 2 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.05.01.01 | [Study description, study identifier, date of initiation] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.02 | Chemical/Material Characterization | 2 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.05.02.01 | [Study description, study identifier, date of initiation] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.03 | Electrical Systems: Safety, Mechanical and Environmental Protection, and Electromagnetic Compatibility | 2 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.05.03.01 | [Study description, study identifier, date of initiation] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.04 | Radiation Safety | 2 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.05.04.01 | [Study description, study identifier, date of initiation] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.05 | Software/Firmware | 2 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. | CR | If relevant to the submission
3.05.05.01 | Software/Firmware Description | 3 | IMDRF | CR | This is REQUIRED if the device includes software. | CR | This is REQUIRED if the device includes software. | CR | If relevant to the submission | CR | This is REQUIRED if the device includes software. | CR | This is REQUIRED if the device includes software. | CR | If relevant to the submission
3.05.05.02 | Hazard Analysis | 3 | IMDRF | CR | This is REQUIRED if the device includes software. | CR | When relevant to the amendment | CR | If relevant to the submission | CR | This is REQUIRED if the device includes software. | CR | When relevant to the amendment | CR | If relevant to the submission
3.05.05.03 | Software Requirement Specification | 3 | IMDRF | CR | This is REQUIRED if the device includes software. | CR | When relevant to the amendment | CR | If relevant to the submission | CR | This is REQUIRED if the device includes software. | CR | When relevant to the amendment | CR | If relevant to the submission
3.05.05.04 | Architecture Design Chart | 3 | IMDRF (EU, HC, JP, USFDA) | CR | This is REQUIRED if the device includes software. | CR | When relevant to the amendment | CR | If relevant to the submission | CR | This is REQUIRED if the device includes software. | CR | When relevant to the amendment | CR | If relevant to the submission
3.05.05.05 | Software Design Specification | 3 | IMDRF (EU, HC, JP, USFDA) | CR | This is REQUIRED if the device includes software. | CR | When relevant to the amendment | CR | If relevant to the submission | CR | This is REQUIRED if the device includes software. | CR | When relevant to the amendment | CR | If relevant to the submission
3.05.05.06 | Traceability Analysis | 3 | IMDRF | CR | This is REQUIRED if the device includes software. | CR | When relevant to the amendment | CR | If relevant to the submission | CR | This is REQUIRED if the device includes software. | CR | When relevant to the amendment | CR | If relevant to the submission
3.05.05.07 | Software Development Environment Description | 3 | IMDRF | CR | This is REQUIRED if the device includes software. | CR | When relevant to the amendment | CR | If relevant to the submission | CR | This is REQUIRED if the device includes software. | CR | When relevant to the amendment | CR | If relevant to the submission
3.05.05.08 | Software Verification and Validation | 3 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.05.05.08.01 | [Study description, study identifier, date of initiation] | 4 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 5 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 5 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 5 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.05.09 | Revision Level History | 3 | IMDRF | CR | When software is part of the device. | CR | When relevant to the amendment | CR | If relevant to the submission | CR | When software is part of the device. | CR | When relevant to the amendment | CR | If relevant to the submission
3.05.05.10 | Unresolved Anomalies (Bugs or Defects) | 3 | IMDRF | CR | When software is part of the device. | CR | When relevant to the amendment | CR | If relevant to the submission | CR | When software is part of the device. | CR | When relevant to the amendment | CR | If relevant to the submission
3.05.05.11 | Cybersecurity | 3 | IMDRF (HC, USFDA) | CR | When the results of a risk assessment suggest that there are safety and effectiveness concerns relating to cybersecurity of the device, this is required. | CR | When relevant to the amendment | CR | If relevant to the submission | CR | When the results of a risk assessment suggest that there are safety and effectiveness concerns relating to cybersecurity of the device, this is required. | CR | When relevant to the amendment | CR | If relevant to the submission
3.05.05.12 | Interoperability | 3 | IMDRF (HC, USFDA) | CR | When the results of a risk assessment suggest that there are safety and effectiveness concerns relating to the interoperability of the device, this is required. | CR | When relevant to the amendment | CR | If relevant to the submission | CR | When the results of a risk assessment suggest that there are safety and effectiveness concerns relating to the interoperability of the device, this is required. | CR | When relevant to the amendment | CR | If relevant to the submission
3.05.06 | Biocompatibility and Toxicology Evaluation | 2 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.05.06.01 | [Study description, study identifier, date of initiation] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.07 | Non-Material-Mediated Pyrogenicity | 2 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.05.07.01 | [Study description, study identifier, date of initiation] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.08 | Safety of Materials of Biological Origin (human/animal) | 2 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.05.08.01 | Certificates | 3 | Regional (ANVISA, HC) | CR | When material of biological material is included in the device that requires support with certificates associated with this material. | CR | When applicable to submission. | CR | When applicable to submission. | CR | When material of biological material is included in the device that requires support with certificates associated with this material. | CR | When applicable to submission. | CR | When applicable to submission.
3.05.08.02 | [Study description, study identifier, date of initiation] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.09 | Sterilization Validation | 2 | IMDRF | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required.
3.05.09.01 | End-User Sterilization | 3 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.05.09.01.01 | [Study description, study identifier, date of initiation] | 4 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 5 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 5 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 5 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.09.02 | Manufacturer Sterilization | 3 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.05.09.02.01 | [Study description, study identifier, date of initiation] | 4 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 5 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 5 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 5 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.09.03 | Residual Toxicity | 3 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.05.09.03.01 | [Study description, study identifier, date of initiation] | 4 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 5 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 5 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 5 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.09.04 | Cleaning and Disinfection Validation | 3 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.05.09.04.01 | [Study description, study identifier, date of initiation] | 4 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 5 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 5 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 5 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.09.05 | Reprocessing of Single Use Devices Validation Data | 3 | IMDRF (ANVISA, USFDA) | CR | Required when the purpose of the submission includes seeking a licence for a reprocessed single use device | CR | Required when the purpose of the submission includes seeking a licence for a reprocessed single use device | CR | Required when the purpose of the submission includes seeking a licence for a reprocessed single use device | CR | Required when the purpose of the submission includes seeking a licence for a reprocessed single use device | CR | Required when the purpose of the submission includes seeking a licence for a reprocessed single use device | CR | Required when the purpose of the submission includes seeking a licence for a reprocessed single use device
3.05.09.05.01 | [Study description, study identifier, date of initiation] | 4 | IMDRF (ANVISA, USFDA) | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 5 | IMDRF (ANVISA, USFDA) | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 5 | IMDRF (ANVISA, USFDA) | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 5 | Regional (USFDA)
3.05.10 | Animal Testing | 2 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.05.10.01 | [Study description, study identifier, date of initiation] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.05.11 | Usability/Human Factors | 2 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.05.11.01 | [Study description, study identifier, date of initiation] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.06 | Non-clinical Bibliography | 1 | IMDRF, RF (ANVISA, HC, JP, USFDA) | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | When relevant to the amendment | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | When relevant to the amendment | CR | If relevant to the submission
3.07 | Expiration Period and Package Validation | 1 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.07.01 | Product Stability | 2 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.07.01.01 | [Study description, study identifier, date of initiation] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.07.02 | Package Validation | 2 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
3.07.02.01 | [Study description, study identifier, date of initiation] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 4 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 4 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
3.08 | Other non-clinical Evidence | 1 | IMDRF | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter
3.08.01 | [Study description, study identifier, date of initiation] | 2 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 3 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 3 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 3 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
4 | CLINICAL EVIDENCE | 0 |  | R |  | R |  | R |  | R |  | R |  | R
4.01 | Chapter Table of Contents | 1 | IMDRF | NR |  | NR |  | NR |  | NR |  | NR |  | NR
4.02 | Overall Clinical Evidence Summary | 1 | IMDRF | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | Not required when this type of evidence/testing is clearly not applicable to the device or submission. If scientific judgement is required to justify why no information is required, then the heading is considered required and the justification should be provided. | CR | If relevant to the submission
4.02.01 | Clinical Evaluation Report | 2 | IMDRF (EU, JP, TGA) | O |  | O |  | O |  | O |  | O |  | O
4.02.02 | Device Specific Clinical Trials | 2 | IMDRF | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required.
4.02.02.01 | [Trial description, protocol #, date of initiation] | 3 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Clinical Trial Synopsis | 4 | IMDRF | CR | A comprehensive synopsis is REQUIRED for each study/test presented in this section. | CR | A comprehensive synopsis is REQUIRED for each study/test presented in this section. | CR | A comprehensive synopsis is REQUIRED for each study/test presented in this section. | CR | A comprehensive synopsis is REQUIRED for each study/test presented in this section. | CR | A comprehensive synopsis is REQUIRED for each study/test presented in this section. | CR | A comprehensive synopsis is REQUIRED for each study/test presented in this section.
2 | Clinical Trial Report | 4 | IMDRF | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Clinical Trial Data | 4 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
4.02.03 | Clinical Literature Review and Other Reasonable Known Information | 2 | IMDRF | CR | When applicable to submission. | CR | When applicable to submission. | CR | When applicable to submission. | CR | When applicable to submission. | CR | When applicable to submission. | CR | When applicable to submission.
4.03 | IRB Approved Informed Consent Forms | 1 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
4.04 | Investigators Sites and IRB Contact Information | 1 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
4.05 | Other Clinical Evidence | 1 | IMDRF | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required. | CR | If any sub-headings are required.
4.05.01 | [Study description, study identifier, date of initiation] | 2 | IMDRF | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section. | CR | This is REQUIRED for each study/test presented in this section.
1 | Summary | 3 | IMDRF | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence. | CR | A comprehensive summary is REQUIRED for each study/test presented in this section. The test summary should be sufficiently detailed to stand alone in describing the evidence.
2 | Full Report | 3 | IMDRF | O |  | O |  | O |  | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section. | CR | A comprehensive full report is REQUIRED for each study/test presented in this section.
3 | Statistical Data | 3 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
5 | LABELLING AND PROMOTIONAL MATERIAL | 0 |  | R |  | R |  | R |  | R |  | R |  | R
5.01 | Chapter Table of Contents | 1 | IMDRF | NR |  | NR |  | NR |  | NR |  | NR |  | NR
5.02 | Product/Package Labels | 1 | IMDRF, RF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
5.03 | Package Insert/Instructions for Use | 1 | IMDRF, RF | R |  | R |  | CR | If relevant to the submission | R |  | R |  | CR | If relevant to the submission
5.04 | e-labelling | 1 | IMDRF, RF (ANVISA, EU) | O |  | O |  | O |  | O |  | O |  | O
5.05 | Physician Labelling | 1 | IMDRF (ANVISA, HC, TGA, USFDA) | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission
5.06 | Patient Labelling | 1 | IMDRF (ANVISA, HC, USFDA) | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission
5.07 | Technical/Operators Manual | 1 | IMDRF (ANVISA, HC, TGA, USFDA) | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission
5.08 | Patient File Stickers/Cards and Implant Registration Cards | 1 | Regional (ANVISA, HC) | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission
5.09 | Product Brochures | 1 | Regional (HC) | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission | CR | If applicable for the device. | CR | If applicable for the device. | CR | If relevant to the submission
5.10 | Other Labelling and Promotional Material | 1 | IMDRF | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter
6A | QUALITY MANAGEMENT SYSTEM PROCEDURES | 0 |  | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.01 | Cover Letter | 1 | Regional (USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.02 | Chapter Table of Contents | 1 | IMDRF (JP, TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.03 | Administrative | 1 | IMDRF (JP, TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.03.01 | Product Descriptive Information | 2 | IMDRF (JP, TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.03.02 | General Manufacturing Information | 2 | IMDRF, RF (ANVISA, HC, JP, TGA USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.03.03 | Required Forms | 2 | IMDRF, RF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.04 | Quality management system procedures | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.05 | Management responsibilities procedures | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.06 | Resource management procedures | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.07 | Product realization procedures | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.07.01 | Design and development procedures | 2 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.07.02 | Purchasing procedures | 2 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.07.03 | Production and service controls procedures | 2 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.07.04 | Control of monitoring and measuring devices procedures | 2 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.08 | QMS measurement, analysis and improvement procedures | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6A.09 | Other Quality System Procedures Information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B | QUALITY MANAGEMENT SYSTEM DEVICE SPECIFIC INFORMATION | 0 |  | NR |  | NR |  | NR |  | R |  | R |  | R
6B.01 | Chapter Table of Contents | 1 | IMDRF (ANVISA, CFDA, EU, HC, TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.02 | Quality management system information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.03 | Management responsibilities information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.04 | Resource management information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.05 | Device Specific Quality Plan | 1 | Regional (HC) | NR |  | NR |  | NR |  | R |  | CR | If applicable to the amendment | CR | If relevant to the submission
6B.06 | Product realization information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.06.01 | Design and development information | 1 | Regional (ANVISA, TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.06.02 | Purchasing information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.06.03 | Production and service controls information | 1 | Regional (ANVISA, HC, TGA USFDA) | NR |  | NR |  | NR |  | R |  | CR | If applicable to the amendment | CR | If relevant to the submission
6B.06.04 | Control of monitoring and measuring devices information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.07 | QMS measurement, analysis and improvement information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | NR |  | NR |  | NR
6B.08 | Other Device Specific Quality Management System Information | 1 | IMDRF (TGA, USFDA) | NR |  | NR |  | NR |  | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter | CR | When information is requested by the regulator (through guidance documents or other communication) but does not belong in any of the other headings of this Chapter